ad_low_noise_float_2023
ad_low_noise_float_2023
ad_low_noise_float_2023
IN_P
IN_P
IN_P
ADC
ADC
ADC
PC
PC
PC
USB
USB
USB
B
IN_N
IN_N
IN_N
P2
Gehäuse Hammond 1590XX
Earth Ground
Earth Ground
Earth Ground
Gehäuse Hammond 1590XX
Gehäuse Hammond 1590XX
GND
GND
GND
optional
optional
optional
100k
1µ
A
casing
casing
casing
Earth Ground
Earth Ground
Earth Ground
C
Reference and AC coupler
ad_low_noise_float_2023
Reference and AC coupler
ad_low_noise_float_2023
F
E
D
1µ
1µ
M2
IN_P
IN_P
ADC
ADC
PC
PC
USB
USB
IN_N
IN_N
F
E
D
Earth Ground
Earth Ground
GND
GND
C
A
casing
casing
N2
1µ
Earth Ground
Earth Ground
100k
Massstab	1:1
File	20250629_ac_coupler_reference
Autor	Peter Märki
100k
100k
10G
10G
1G
1G
100M
100M
10
10
1n5
47
DUT
GALVANIC ISOLATION
BNC
D9.5
DUT
GALVANIC ISOLATION
DUT
GALVANIC ISOLATION
optional
GALVANIC ISOLATION
47k
DUT
optional
GALVANIC ISOLATION
47k
DUT